## Sheet1
Copy the value output by the vode VL in the first column. VL is the voltage across the load 10K. VL is a digital number.
The sheet compute the concentration of CO in ppb. The computations are based on the sensitivity curves.
you need also to enter the temperature by end. And the result depends on the humidity.
You could add a sensor for humidity/temperature,
R0 needs to be tuned. We used the website breezometer to tune it. It is the resistance of the sensor in clean air. (50% humidity 22C). | [10 empty] | I have added a 45% column by |  |  | averaging the columns 60 and 45
| VL | [13 empty] | oncentration in ppm |  |  |  | concentration in ppb.
|  |  | RL=10,000 ohms |  | R0=10000 ohms |  | Env factor to multiply the ratio by. Depends on temp. |  |  |  |  | multiply the factor by Rs/R0 |  |  | plug Rs/Ro x factor into exponential.
| VL(0-1024) | VL in volts | Rs | temp © |  | Rs/R0 | 85% | 60% | 45% | 30% | 85% | 60% | 45% | 30% | 85% | 60% | 45% | 30% | 85% | 60% | 45% | 30%
| 330 | 1.6113 | 21030.303 | 17 |  | 1.2371 | 1.3231 | 1.1271 | 1.0303 | 0.93359 | 1.6368 | 1.3943 | 1.2746 | 1.1549 | 0.29099 | 0.38946 | 0.45849 | 0.54851 | 290.9874 | 389.4592 | 458.4872 | 548.5115
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 187 | 0.91309 | 44759.3583 | 21 |  | 2.6329 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3383 | 2.8443 | 2.5826 | 2.3208 | 0.079643 | 0.10655 | 0.127 | 0.15423 | 79.643 | 106.5546 | 126.9973 | 154.23
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 189 | 0.92285 | 44179.8942 | 21 |  | 2.5988 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.295 | 2.8075 | 2.5491 | 2.2908 | 0.081552 | 0.10911 | 0.13004 | 0.15793 | 81.5522 | 109.109 | 130.0417 | 157.9273
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 188 | 0.91797 | 44468.0851 | 21 |  | 2.6158 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3165 | 2.8258 | 2.5658 | 2.3057 | 0.080594 | 0.10783 | 0.12851 | 0.15607 | 80.5939 | 107.8269 | 128.5136 | 156.0715
| 187 | 0.91309 | 44759.3583 | 21 |  | 2.6329 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3383 | 2.8443 | 2.5826 | 2.3208 | 0.079643 | 0.10655 | 0.127 | 0.15423 | 79.643 | 106.5546 | 126.9973 | 154.23
| 187 | 0.91309 | 44759.3583 | 21 |  | 2.6329 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3383 | 2.8443 | 2.5826 | 2.3208 | 0.079643 | 0.10655 | 0.127 | 0.15423 | 79.643 | 106.5546 | 126.9973 | 154.23
| 187 | 0.91309 | 44759.3583 | 21 |  | 2.6329 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3383 | 2.8443 | 2.5826 | 2.3208 | 0.079643 | 0.10655 | 0.127 | 0.15423 | 79.643 | 106.5546 | 126.9973 | 154.23
| 187 | 0.91309 | 44759.3583 | 21 |  | 2.6329 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3383 | 2.8443 | 2.5826 | 2.3208 | 0.079643 | 0.10655 | 0.127 | 0.15423 | 79.643 | 106.5546 | 126.9973 | 154.23
| 187 | 0.91309 | 44759.3583 | 21 |  | 2.6329 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3383 | 2.8443 | 2.5826 | 2.3208 | 0.079643 | 0.10655 | 0.127 | 0.15423 | 79.643 | 106.5546 | 126.9973 | 154.23
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 186 | 0.9082 | 45053.7634 | 21 |  | 2.6502 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3602 | 2.863 | 2.5996 | 2.3361 | 0.078699 | 0.10529 | 0.12549 | 0.1524 | 78.6994 | 105.2922 | 125.4926 | 152.4026
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 185 | 0.90332 | 45351.3514 | 21 |  | 2.6677 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.3824 | 2.8819 | 2.6167 | 2.3515 | 0.077763 | 0.10404 | 0.124 | 0.15059 | 77.7631 | 104.0395 | 123.9996 | 150.5895
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 184 | 0.89844 | 45652.1739 | 21 |  | 2.6854 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4048 | 2.9011 | 2.6341 | 2.3671 | 0.076834 | 0.1028 | 0.12252 | 0.14879 | 76.834 | 102.7965 | 122.5181 | 148.7903
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052
| 183 | 0.89355 | 45956.2842 | 21 |  | 2.7033 | 1.2679 | 1.0803 | 0.98089 | 0.88147 | 3.4275 | 2.9204 | 2.6516 | 2.3829 | 0.075912 | 0.10156 | 0.12105 | 0.14701 | 75.9122 | 101.5632 | 121.0482 | 147.0052