## Sheet1
Veronique Lankar 12/1/19
sensitivity curves for the N02 sensor based on the datasheet:
https://sgx.cdistore.com/datasheets/sgx/1143_datasheet%20mics-6814%20rev%208.pdf
we measure Vs across the resistance Rs (see code) and the spreadsheet turns Vs to Rs the resistance
then the spreadsheet find Rs/Ro. Ro is found by trial and error using the website breezometer.com
Then Rs/Ro is plugged into the power function to find ppm.
calibration is for 25C and 50% humidity.
table of valued based on the log-log graph based on the datasheet →
| ppm | Rs/R0
| 0.01 | 0.07
| 0.1 | 0.7
| 1 | 6.4
| 0.03 | 0.2
| 0.15 | 1 | I added this one
| 0.3 | 2
| 3 | 20
| 6 | 40
| The log-log graph is turned into a linear scale graph |  |  | ->
then we fit a power function
|  | Rs/R0 | ppm
|  | 0.07 | 0.01
|  | 0.7 | 0.1
|  | 6.4 | 1
|  | 0.2 | 0.03
|  | 2 | 0.3
|  | 20 | 3
|  | 40 | 6